# Automated real-time objects detection in colonoscopy videos for quality measurements

Muthukudage Jayantha kumara

Dissertation Prepared for the Degree of

DOCTOR OF PHILOSOPHY

UNIVERSITY OF NORTH TEXAS

May 2013

APPROVED:

JungHwan Oh, Major Professor

Bill Buckles, Committee Member

Yan Huang, Committee Member

Song Fu, Committee Member

Barrett Bryant, Chair of the Department of Computer Science and Engineering

Costas Tsatsoulis, Dean of the College of Engineering

Mark Wardell, Dean of the Toulous Graduate School

# Copyright notice

Copyright 2013

By

Muthukudage Jayantha Kumara

# acknowledgements

My first debt of gratitude must go to my advisor, Dr. JungHwan Oh. He patiently provided the vision, encouragement and advice necessary for me to move forward through the doctorial program and complete my dissertation. He has been a strong and supportive adviser to me throughout my graduate school career. Completing my PhD degree is probably the most challenging activity of life. It has been a great opportunity to spend several years in the Department of Computer Science and Engineering, University of North Texas, and I am always glad to have a good relationship with the members of the department.

Special thanks to my committee, Dr. Bill P. Buckles, Dr. Yan Huang, and Dr. Song Fu for their support, guidance and helpful suggestions. Their guidance has served me well and I owe them my heartfelt appreciation. Members of Multimedia Information System Lab (MigLab) also deserve my sincerest thanks, their friendship and assistance has meant more to me than I could ever express. I should also mention the help of Dr. Wallapak Tavanapong and Dr. Peit C. De Greon rendered towards my dissertation. They provided me guidance, feedbacks, support in completing required work in timely manner.

I wish to thank my parents, Wimalasena Muthukudag, Jayawathi Muthukudage and my father-in-law, mother-in-law, my brother, and sisters. Their love provided my inspiration and was my driving force. I owe them everything and wish I could show them just how much I love and appreciate them. My wife, Nirosha Sumanasinghe, whose love and encouragement allowed me to finish this journey. She already has my heart so I will just give her a heartfelt “thanks.” Finally, I would like to give my heartfelt thank to all the people who helped me in any how in completing my journey through pre-school to Ph.D.

# Table of contents

Contents

Page

COPYRIGHT NOTICE	II

ACKNOWLEDGEMENTS	III

TABLE OF CONTENTS	IV

LIST OF TABLES	VI

LIST OF FIGURES	VII

CHAPTER 1 INTRODUCTION	1

CHAPTER 2 BACKGROUND AND RELATED LITERATURE	7

2.1 Color Spaces	10

2.2 Equation of a plane	11

2.3 Classification Models	13

CHAPTER 3 METHODOLOGY	18

3.1 Data Acquisition	19

3.2 Training the Models	20

3.3 Boston Bowel Preparation Scale (BBPS) Generation	37

3.4 Integration of Methodology in Real Time Software Development Kit	40

3.5 Performance Gain through Massive Parallelism	43

3.6 Blood based anomaly (Erythema) detection	46

CHAPTER 4 EXPERIMENTAL SETUP & RESULTS	51

4.1 Block Division Model	51

4.2 Convex Hull Model	54

4.3 BBPS score	63

4.4 Performance Gain through Massive parallelism	63

4.5 Erythema Detection	64

CHAPTER 5 CONCLUSION	66

5.1 Future Directions	67

BIBLIOGRAPHY	68

# List of tables

Table 3. 1 Relationship between the quality term and the quality points.	38

Table 3. 2 Stool percentage in a frame and the assigned score value	40

Table 4.1 Number of examples (pixels) used in the training stage	52

Table 4.2 Performance comparison with the previous work	52

Table 4.3 Average Time taken for KNN and the proposed method	53

Table 4.4 Number of positive examples  used in the training sets for each case	55

Table 4.5 Number of examples (pixels) used in test bed for each case	55

Table 4.6  Accuracy metric	56

Table 4.7 Accuracy comparison between RGB and HSV color spaces	60

Table 4.8 Accuracy of the proposed method with all three initial axes	61

Table 4.9 Comparison of Calculated BBPS scores with Ground truth BBPS scores	63

Table 4.10 Time performance of the blurry detection module in CPU and GPU	64

Table 4.11 Statistical measures for Healthy and Erythema frames	65

# List of figures

Figure 1. 1 Colonoscpe	1

Figure 1. 2 Six parts of Colon	3

Figure 1. 3 Example of frames found in the colonoscopy	4

Figure 2. 1 Support Vector Machine hyper plane and its maximum margin	14

Figure 2. 2 k-NN classification based on majority voting in a neighborhood	16

Figure 3. 1 RGB Color cube, pixels locatins, and plane placement.	21

Figure 3. 2 Block division methodology	23

Figure 3. 3  Basic steps of convex hull generation	27

Figure 3. 4 Convex hull methodology in RGB color space	29

Figure 3. 5 Positive plane selection for bite-block in RGB space.	30

Figure 3. 6 Positive plane selection for blood in RGB color space.	31

Figure 3. 7 Positive plane selction for stool in RGB color space.	32

Figure 3. 8 Convex hull modelling in HSV color space.	35

Figure 3. 9  Positive plane selection in HSV color space.	36

Figure 3. 10 Two Phases in Colonoscopy Video	39

Figure 3. 11 SAPPHIRE middle ware architecture	41

Figure 3. 12 Application of proposed method	43

Figure 3. 13 OpenCL memory model	45

Figure 4. 1 Sample results from the block division method	54

Figure 4. 2 Accuracy comparisons of proposed method	57

Figure 4. 3 Speed comparisons of proposed method	59

Figure 4. 4 Sample results of the convex hull method	62

# Chapter 1
introduction

Advances in video technology are being incorporated into today’s healthcare practices. Various types of endoscopes are used for colonoscopy, upper gastrointestinal endoscopy, enteroscopy, bronchoscopy, cystoscopy, laparoscopy, wireless capsule endoscopy, and minimally invasive surgeries (i.e., video endoscopic neurosurgery). These endoscopes come in various sizes, but all have a tiny video camera at the tip of the endoscope. During an endoscopic procedure, this tiny video camera generates a video signal of an existing or created space inside the human body, which is displayed on a monitor for real-time analysis by the physician. Colonoscopy instrument is shown in the Figure 1.1.

Figure 1.1 Colonoscpe

Colonoscopy is an important screening tool for colorectal cancer. In the US, colorectal cancer is the second leading cause of all cancer deaths behind lung cancer [1]. As the name implies, colorectal cancers are malignant tumors that develop in the colon and rectum. The survival rate is higher if the cancer is found and treated early before metastasis to lymph nodes or other organs occurs. Colonoscopy has contributed to a marked decline in the number of colorectal cancer related deaths. However, recent data suggest that there is a significant (4-12%) miss-rate for the detection of even large polyps and cancers [2-4]. The miss-rate may be related to the experience of the endoscopist and the location of the lesion in the colon, but no prospective studies related to this have been done thus far.

A normal colon consists of six parts: cecum with appendix, ascending colon, transverse colon, descending colon, sigmoid and rectum as shown in the Figure 1.2. Colonoscopy allows for inspection of the entire colon and provides the ability to perform a number of therapeutic operations such as polyp removal during a single procedure. The effectiveness of colonoscopy in prevention of colorectal cancers depends on the quality of the inspection of the colon, which generally can be evaluated in terms of the withdrawal time (time spent during the withdrawal phase) and the thoroughness of the inspection of the colon mucosa. Current American Society for Gastrointestinal Endoscopy (ASGE) guidelines suggest that (1) on average the withdrawal phase during a screening colonoscopy should last a minimum of 6 minutes and (2) the visualization of cecum anatomical landmarks such as the appendiceal orifice and the ileocecal valve should be documented [5].

Figure 1.2 Six parts of Colon: 1 - Cecum, 2 - Ascending colon, 3 - Transverse colon, 4 - Descending colon, 5 -Sigmoid and 6 - Rectum.

There was no automated measurement method to evaluate the endoscopist's skill and the quality of colonoscopic procedure. To address this critical need, we have been investigating automated post-procedure quality measurement system by adapting some algorithms and software [6, 7], which automatically records colonoscopic procedures on a hard disk in MPEG-2 format [8]. This system has been placed at Mayo Clinic Rochester since the beginning of February 2003 to capture de-identified colonoscopic procedures performed by de Groen (co-author) and colleagues. The limitation of post-processing quality measurement is that quality measurements are available long after the procedure was done and the patient was released. The endoscopist can only improve the quality of the next colonoscopy procedures. However, a better approach is to inform any sub-optimal inspection immediately so that the endoscopist can improve the quality during the procedure. This new system has been placed at Mayo Clinic Rochester since the beginning of 2011. The goal of new system proposed in this dissertation is to achieve real-time analysis and feedback to aid the endoscopist towards optimal inspection to improve overall quality of colonoscopy during the procedure.

Color-based object detection is necessary for both post-processing and real-time quality measurements. Some of those objects are Bite-block, Blood, and Stool shown in the figure 1.3. All these objects do not pose any other distinguishable characteristics (i.e.,   shape or texture) rather than color.

| (a) | (b) | (c) |
| --- | --- | --- |

Figure 1.3 Examples of (a) Green bite-block areas, (b) Blood, and (c) Stool areas marked with blue lines.

Upper GI (Gastroenterology) endoscopy and colonoscopy procedures are performed in the same room at different times. It is necessary to distinguish the type of procedure prior to execute any quality measurement to evaluate the procedure. Stool detection, for instance, is generating useful information only on colonoscopy procedures and does not make any useful information on upper GI procedures. We need develop a method that detects the procedure type at the beginning of the procedure so that only colonoscopy related modules can run on the procedure. In upper GI endoscopy, a bite-block is inserted for patient protection. By detecting this bite-block, we can distinguish colonoscopy from upper GI endoscopy procedures.

Blood detection plays several important roles in various endoscopies, for example, blood detection in wireless capsule endoscopy aims to find abnormal regions in the small bowel. On the other hand blood detection in colonoscopy has two applications such as abnormal region detection and estimation of whether biopsies of polypectomies are performed during the procedure. I propose a method to detect blood regions in colonoscopy procedures.

The diagnostic accuracy of colonoscopy depends on the quality of bowel preparation [9]. Inadequate cleansing can result in missed lesions. The quality of bowel cleansing is generally assessed by the quantity of solid or liquid stool in the lumen. Despite a large body of published data on methods that could optimize cleansing, a substantial level of inadequate cleansing occurs in 10% to 75% of patients in randomized controlled trials [10]. Poor bowel preparation has been associated with patient characteristics, such as inpatient status, history of constipation, use of antidepressants, and noncompliance with cleansing instructions. To assess the quality of bowel preparation, I propose a method to compute the amount of mucosa covered by stool. And then, have been used them in a standard quality measurement practice called Boston Bowel Preparation scale (BBPS).

Poor bowel preparation has been associated with patient characteristics, such as inpatient status, history of constipation, use of antidepressants, and noncompliance with cleansing instructions. The American Society for Gastrointestinal Endoscopy (ASGE) and American College of Gastroenterology (ACG) Taskforce on Quality in Endoscopy suggested that every colonoscopy report should include an assessment of the quality of bowel preparation. They proposed the use of terms such as “excellent,” “good,” “fair,” and “poor,” but admitted that these terms lack standardized definitions [11]. BBPS was first introduced by the authors of [11] in which the terms “excellent,” “good,” “fair,” and “poor,” were replaced by a four-point scoring system applied to each of the three broad regions of the colon: the right colon (including the cecum and ascending colon), the transverse colon (including the hepatic and splenic flexures), and the left colon (including the descending colon, sigmoid colon, and rectum).

In this thesis, I propose a method to detect the above objects (Bite-block, Blood, and Stool). Its main idea is to subdivide very large positive examples into subsets based on a concept called positive planes, and model each positive plane as a separate classifier for that subset of positive examples. For the modeling of each plane, two methodologies have been developed in which we used data partitioning to achieve required detection speed.

# Chapter 2
background and Related literature

Color based classification plays a major role in the field of medical image analysis. A significant number of publications based on color features can be found in the literature.

We proposed a method [12] of classifying stool images in colonoscopy videos using a Support Vector Machine (SVM) classifier. The video frame is down-sampled into blocks in order to reduce the size of the feature vector. Features to the SVM classifier are, in fact, the average value for each block. Then, a stool mask is made for each video frame using the trained SVM classifier, and post processing methods are applied to improve the detection accuracy. The post processing methods include a majority filter and a binary area opening filter. Finally, the frames having more than 5% of stool area are classified as stool frames. A deficiency of these SVM methods that it lacks the ability to learn new data instances when available. The novel method presented in [13] is to detect stool regions with a higher accuracy yet requiring less computation. In this method, a block division approach is used to represent the positive class examples and reduces the number of comparisons considerably. This method has been developed for stool detection in post processing environment. In [14], a methodology was proposed aimed at the detection of bleeding patterns in Wireless Capsule Endoscopy (WCE) frames. In this study the features used are the hue, saturation, and value histograms [15], and co-occurrence matrix only considering the dominant colors. These features are then used with a SVM ensemble to detect bleeding patterns in WCE videos.  Another method to detect bleeding and other blood-based abnormalities in WCE images was presented in [16]. This work was based on a previously published method in [17]. In this, segmentation is carried out on smoothed and de-correlated Red, Green, and Blue (RGB) color channels using a fuzzy segmentation algorithm. This method is robust in segmentation where there are regions with gradual illumination changes. The segmentation result is then transformed to a Local Global graph, which mathematically describes the local and global relationships between the segmented regions in terms of a graph. This graph is then used to merge segmented regions which are similar. In [18], the detection of bleeding patterns is done in two steps. First a detection of frames with potential bleeding areas is performed based on the assumption that blocks representing bleeding areas are more saturated than the remaining blocks. Pre-classification detects a frame as bleeding frame if at least one block represents a bleeding area. In the second step the initial classification is verified and refined based on pixel-based multi-thresholding of the saturation and intensity. Finally, a bleeding level is assigned to that particular frame based on the pixel values. The work in [19] is based on color space transformation. The color space of WCE frames is transformed from RGB to Hue, Saturation, and Value (HSV) space. This enables one to work on intensity and color information separately. Based on the color information, chromaticity moments are computed to eliminate illumination variations. A neural network classifier is used for the classification of bleeding and ulcer areas. Authors in [20] proposes a technique to detect the bleeding automatically, utilizing the color spectrum transformation method and morphological filtering. The work presented in [21] deals with development of a methodology for detecting bleeding in WCE images. The presented methodology is based on a Neural Net model available in the AIIS Inc.

Besides these work, there are several studies on selecting a color space for a particular application. Authors in  [22]  builds a random forest to learn the similarity function of pairs of person images using color features from 6 kinds of popular color spaces (RGB, normalized RGB (NRGB), HSV, YCbCr, CIE XYZ and CIE Lab). The authors carry out experiments on the challenging dataset VIPeR to show the performances of different color spaces and their combination. Authors reported that the combination of NRGB, HSV, YCbCr and CIE Lab color spaces achieves the best performance. Work presented in [23] assesses the impact of color spaces on skin detection based on color features. In this study, authors trying to prove that for every color space there exists an optimum skin detector scheme such that the performance of all these skin detectors schemes is the same. Work of [24] presents a comprehensive and systematic approach for skin detection based on color. In this study, each component of several color models has been evaluated, and then they selected a suitable color model for skin detection. After listing the top components, authors exemplify that a mixture of color components can discriminate very well skin in both indoor and outdoor scenes. A new approach for dealing with color space issues is carried out in [25]. Authors in this study are proposing an opponent color space with low cross contamination of color attributes (i.e. lightness, chroma, and hue). And also they compose a list of properties a color space should have in order to operate effectively.

There is no methodology for the detection of bite-block in the literature to the best of our knowledge. In the proposed method, we achieve a very high accuracy with fast enough speed for real-time processing. And it inherits a characteristic that enables the classifier to train the system on subset of training data. This is achieved by considering only one hyper plane at a time. Each hyper plane intersects only a subset of the whole training dataset. More details are given in Chapter 3.

## 2.1 Color Spaces

Imaging instrumentation used in the endoscopy procedures generates RGB color information by default. RGB color channel are strongly correlated and hence, they do not exhibits a good discrimination power. A color space conversion is needed and at the same time, it is required to ensure a better discrimination power. In this study, there are two color spaces used. Every color space used has its own advantage over the other. A brief description of each color space used and their advantages in real time environment is presented in the following paragraphs.

2.1.1 RGB color pace

An RGB color space is any additive color space based on the RGB color model [26]. The complete specification of an RGB color space also requires a white point chromaticity and a gamma correction curve. RGB is a convenient color model for computer graphics because the human visual system works in a way that is similar, though not quite identical.  RGB color space is directly available from the imaging instrumentation and hence, there is no need of color space transformation. RGB color space is represented as 3D Cartesian coordinate system. It should be noted that, RGB color space is used at the cost of accuracy to gain the real time performance.

2.1.2 HSV Color Space

HSV is an angular representation of points in an RGB color model. This representation rearranges the geometry of RGB in an attempt to be more intuitive and perceptually relevant than the Cartesian (cube) representation. Developed in the 1970s for computer graphics applications, HSV is used today in image analysis and computer vision [26]. HSV color space inhibits a greater discriminative power when compare against the RGB color space. This color space, in this study, gives a better accuracy while it is suffering from speed requirement in real time environment where detection speed plays a critical role. The main disadvantage of using HSV color space is that it is not directly accessible from the imaging instrumentation. And hence need a color space transformation.

## 2.2 Equation of a plane

A plane is a two-dimensional surface. A plane can be defined in three-dimensional space. A plane can be represented using a point on the surface and a normal vector to the plane. Let r0 be the position vector of some known point P0 in the plane, and let n be a nonzero vector normal to the plane. The idea is that a point P with position vector r is in the plane if and only if the vector drawn from P0 to P is perpendicular to n. Two vectors are perpendicular if and only if their dot product is zero, it follows that the desired plane can be expressed as the set of all points r such that

n .(r-r0)=0           							(2.1)

Expanding the equation 2.1 gives

nxx- x0+ nyy- y0+ nzz- z0=0			(2.2)

2.2.1 Defining a plane through three points

Let p1=(x1, y1, z1), p2=(x2, y2, z2), and p3=(x3, y3, z3) be non-collinear points. Then the plane can be represented as a scalar equation as ax+by+cz=d. This will generate a system of equations as follows,

ax1+by1+cz1+ d=0

ax2+by2+cz2+ d=0

ax3+by3+cz3+ d=0

This system of equations can be solved using Cramer’s Rule and matrix manipulations.

Let  D= x1y1z1x2y2z2x3y3z3

If D is non-zero (a plane that does not go through the origin) the values for a, b, and c can be calculated as

a=          x1y1z1 -dD    x2y2z2          x3y3z3

b=         x1y1z1 -dD    x2y2z2           x3y3z3

c=           x1y1z1 -dD    x2y2z2           x3y3z3

These equations are parametric on d. setting d to a non-zero value and substitute it into these equations will yield one solution set.

## 2.3 Classification Models

2.3.1 Support Vector Machine

Support Vector Machine (SVM) is a supervised learning model for classification  and regression analysis. From a given set of labels and corresponding training data, SVM build support vectors, which are point in space. A SVM model is a representation of the examples as points in space, mapped so that the examples of the separate categories are divided by a clear margin that is as wide as possible.

Given a training data set D, which is a set of points, n of the form given in the equation 2.3, where yi is either 1 or -1, representing the class of xi. Each point is a p-dimensional vector. The aim is to find a hyper plan that clearly separates two classes into two regions while maximizing the margin between two classes. Any hyper plane can be written as set of point x satisfying the equation given in the equation 2.4.

D= xi,yixi∈Rp, yi∈-1,1i=1n		(2.3)

w.x-b=0   						(2.4)

Where, w is the normal vector of the hyper plane, w.x is the dot product of the x and w. The offset of the hyper plane relative to the origin along the normal vector is bw. Then, if the data set is linearly separable, the two hyper planes that form the margin between two classes can be written as given in equations 2.5 and 2.6. The distance between these two hyper planes is 2w . By minimizing the ||w||, one can maximize the margin between two hyper planes [27]. This concept is shown in the Figure 2.1.

w.x-b=1  						(2.5)

w.x-b=-1  						(2.6)

If the data set is not linearly separable, then we need to introduce a kernel function to the SVM so that the data set is mapped into high dimensional data space so that the data set is linearly separable in the high dimensional data space. For instance, Radial Basis Function. Which is the kernel function is been used in this study.

Figure 2.1 Support Vector Machine hyper plane and its maximum margin

There are many number of SVM implementations available in the literature. These implementations can be divided into two main sub categories based on their approach: Decomposition-based methods and Variant-based methods. Decomposition methods, especially Sequential Minimal Optimization (SMO) type algorithms, are sometimes very slow for linear kernel SVM. Decomposition methods consider only a small subset of variables in each iteration. The idea is: the variables are split into two parts, the set of free variables called working set, and the set of fixed variables. Free variables are those which can be updated in current iteration, whereas fixed variables are temporarily fixed at a particular value. The advantage of decomposition method is that its memory requirement is linear in the number of training examples. [28-44]. Decomposition methods tackle the lack-of-memory issue by splitting problem into a series of smaller ones. But they are time consuming especially for large-scale problems. So researchers consider various approximate versions of standard SVM at the price of accuracy for speedup, and make great progress in this direction. Variant-based methods are reported in [45-53].

2.3.2 K-Nearest Neighbor

K-NN (k-nearest-neighbor) [54] has been widely used for classification problems. It is based on a distance function that measures the difference or similarity between two instances. The standard Euclidean distance d(x, y) between two instances x and y is often used as the distance function as defined in Equation 2.7.

dx,y= 2i=1nai(x)- ai(y)2			             (2.7)

Where ai(x) is the value of ith attribute of x, and  ai(y) is the value of ith attribute of y.

Given an instance x, K-NN assigns the most common class of x’s k nearest neighbors to x, as shown in Equation 2.8. We use C and c to denote the class variable and its value respectively. The class of the instance x is denoted by c(x).

cx= argmaxc∈C i=1kδ(c,cyi)			            (2.8)

where y1, y2, · · ·, yk are the k nearest neighbors of x, k is the number of the neighbors, and  δ(c, c(yi)) = 1 if c = c(yi), and δ(c, c(yi)) = 0 otherwise. This concept is shown in Figure 2.2.

Figure 2.2 k-NN classification based on majority voting in a neighborhood

There are approaches for improving KNN’s classification accuracy. Three major categories can be found in the literature: 1) Use more accurate distance functions instead of the standard Euclidean distance; 2) Introducing an optimum neighborhood sizes search to replace parameter k; 3) Replace the sample voting scheme with a probabilistic function.

In KNN, the standard Euclidean distance is used. Thus, the distance between instances is calculated based on all attributes of the instance. However, when many numbers of irrelevant attributes are included, the predicted example would be wrong with a high probability. One way out of this problem is to eliminate irrelevant attributes when calculating the distance named as feature selection [55-61]. KNN accuracy depends on the parameter k. Then an automated algorithm to select the best k value would give a better accuracy with KNN. The simplest method is to try several k values and choose the best one. Besides that, there are various other methods to select an optimum value for k has been proposed [62 - 66]. KNN uses a simple voting to produce class estimation. All the neighborhood instances are treated equally. In [67], it is been trying to estimate class probabilities with varying weight assignments.

The classifiers described in the previous two sub sections perform well in terms of the accuracy in the domain of color based object detection. But both techniques fail to perform classification in real time as the time taken is considerably high. In this thesis, I proposed a data partitioning technique along with a data modeling method to overcome the computational complexity barrier of two techniques mentioned above.

# Chapter 3
methodology

In this section, it is presented the data acquisition method, modeling of the training data with two techniques, usage of RGB and HSV color spaces in each technique, generation of Boston Bowel Preparation Scale (BBPS), integration of the proposed method with a real-time SDK, performance gain through a massive parallelism, a real world application of the proposed method, and a variation of blood based anomaly (Erythema) detection.

A frame in a colonoscopy video consists of a number of pixels as a digitized image typically does.  Each pixel has three number values representing Red (R), Green (G), and Blue (B), so each pixel can be projected into 3-dimensional (3-D) RGB color space. A set of pixels, which are from a region such as stool, can form arbitrary shape(s) of volume(s) in 3-D RGB color space. This volume, if modeled mathematically, can be used to detect pixels from a stool region. Colonoscope instruments generate signals in the RGB color space hence RGB is the directly accessible color space. We develop the proposed methodology in RGB color space. Next, we transform the RGB color space to HSV color space and do exactly the same procedure. RGB color space is favorable in real time environment as it is directly accessible. HSV is favorable in terms of discrimination power of color information. RGB color space is favorable over HSV since the conversion needs extra computational time. For the mathematical representation, we propose to use a set of planes in which each plane consists of a subset of positive class examples, and behaves as an individual classifier for that subset of positive examples. More information is discussed in the training and the detecting stages. The training stage has three steps: All positive class pixel projection, Positive class plane selection, and positive class plane modeling using either block division method or convex hull model. As a result, the training stage generates a classification model which is used in the detecting stage.

The remaining of this section is as follow: Section 3.1 describes the data acquisition procedure. Section 3.2 explains the training process in two techniques and for RGB and HSV color spaces separately. Section 3.3 present the BBPS score generation based on stool scores. Section 3.4 provides the description of integration into real-time SDK. And Section 3.5 provides information on how to gain performance through massive parallelism. Finally section 3.6 provides a methodology to differentiate Erythema video frames from a normal frame.

## 3.1 Data Acquisition

The main source of data for this study is coming from colonoscopy videos. These videos are recorded during a colonoscopy screening procedure. At the time of recording, patient information is reported along with the video itself. For this study, I used only videos that are anonymous and do not carry any patient information. All the patient information is striped off by the doctors, before deliver to be used in this study. In this manner, patient’s identity is protected and not revealed to any person who is relevant to this study

The basic unit of information is a video frame extracted from a given colonoscopy video. This unit is in two different versions, testing units and training units. Testing units are basically for evaluation of the developed methodology and the ground truth units are for the development of the methodology. Both these categories contain ground truth information. All these video frames are annotated by the doctors. This information is then used in the training of stage and the detection stage of the proposed methodology. Testing units are used in the cross validation process.

## 3.2 Training the Models

3.2.1 Block Division Model

3.2.1.1 Training Stage of the Block Division Method

First, I project all stool pixels extracted from stool frames into RGB color cube. Each unique pixel has a unique location in the RGB color cube as three coordinates R, G, B as illustrated in Fig. 3.1(a). For convenience, RGB is mapping to XYZ coordinate system as shown. In the second step, we put 256 planes into the RGB cube along with R (X) axis so that each integer location of R axis has a plane parallel to GB plane as seen in Figure 3.1 (b). It is possible to put planes along G axis or B axis in which there is no difference among them in terms of modeling. Then, we assign a number (from 0 to 255) to each plane (i.e., Plane#0, Plane#1 … Plane#255). Among these 256 planes, we select only planes with stool pixels projected on it. Each selected plane is called a ‘Positive Plane’.

Each positive plane is treated as a 2D model at the relevant location. For instance, Plane#0 at the location (0, 0, 0) is treated as a classifier for positive class examples (stool pixels in our case) that has a R (X) value of zero (0). This method inherits fast classification as it already possesses the property of eliminating non-relevant class examples (i.e., non-stool pixels in our case) in the training process.

(a)

(b)

Figure 3.1 (a) RGB cube and corresponding locations of stool pixels, and mapping of RGB axis to XYZ axis (within brackets), and (b) Several planes inserted into the RGB cube of (a).

If we pick a positive plane, it can be seen in Fig. 3.2(a). In the positive plane modeling, we model the areas of positive class examples. First, a positive plane is divided into four blocks. The block is a square since each plane is a square (256 x 256), and each may contain all stool pixels, all non-stool pixels, or mixture of non-stool and stool pixels. For all four blocks, we check the following three conditions. If all (or more than 95%) of pixels in a block are positive class examples (stool pixels), the block becomes a positive block, and the procedure for this block is done. If all pixels in a block are non-positive class examples (non-stool pixels), then the block becomes a negative block, and the procedure for this block is done. If some (less than 95%) of pixels in a block are positive class examples (stool pixels), and the block has more than or equal to the MNP (Minimum Number of Pixels – MNP is 16 in our case), the block is divided into four smaller blocks, and we check the above three conditions for all four smaller blocks. The minimum block size is 4 x 4. When the iteration reaches the minimum block size, a block becomes a positive block if it has more positive class examples (stool pixels). Otherwise, it becomes negative block. This procedure is recursive, and the blocks become smaller in the next iteration (Each block is iteratively divided by four). In case the block has less than the MNP, if it has more positive class examples (stool pixels), then it becomes a positive block. Otherwise, it becomes a negative block.  All levels of blocks have their own unique number values in the way shown in Figure 3.2(c). It is very convenient and non-ambiguous way for the numbering. Among these numbers, a set of numbers for positive blocks can form a vector for a positive plane, and a set of vectors from all positive planes can form a classification model for the detecting stage. This model possesses incremental learning property. Its incremental learning is performed as follows. When there is a new positive pixel to be inserted into the model, we can find a corresponding minimum size (4 x 4) block which is a negative block. The block can become a positive block if it gets more positive class examples (stool pixels) by adding this new positive pixel. In this way, we do not have to run the entire training process from beginning when we need to add additional positive examples.

| (a) | (b) |
| --- | --- |
| (c) | (d) |

Figure 3.2 (a) Selected plane (b) Positive class examples (stool pixels) projected on a positive plane (plane#175) as looking into the RGB cube from right side in (a),  (c) Minimum coverage area of the positive classes examples (stool pixels), and (d) Unique numbering of blocks for

fast access (not all shown for clarity).

3.2.1.2 Detecting Stage of Block Division Method

Detection of the positive pixel is performed by evaluating a candidate pixel on the classification model generated in Section 3.2.1. Once there is pixel to be detected, the R (X) value of the pixel is obtained and used as the index to pick the corresponding positive plane. For example, if the R (X) value is 5, then Plane#5 is selected and examined. This will dramatically reduce the number of comparisons so that the searching time is significantly reduced. In other words, the detecting time of the proposed technique is not dependent on the number of positive planes, but on how many positive blocks there are in the corresponding plane, which is comparatively very small.  By comparing the GB (YZ) values of the pixel with the vector obtained from the third step of the training stage, in other words, if the GB (YZ) values of the pixel can be found in the corresponding vector, it can be classified as a positive class pixel. Otherwise, it is classified as negative class pixel. After all pixels of a frame are evaluated, we can calculate a percentage of stool area for each frame such that the number of all stool pixels is divided by the number of total pixels.

3.2.2 Convex Hull Model

3.2.2.1 Training the Model with RGB Color Space

Digital color images modeled in RGB color space (cube) represent each color channel with 8-bitinteger ranging from 0 to 255, giving us a total of 2563 potential colors. Figure 1.2 shows an example of frames that can be found in colonoscopy and upper endoscopy videos. We project all positive class pixels in ground truth frames into RGB color cube as the first step. To discriminate positive class pixels from negative ones we use the fact that each color pixel has a unique location in the RGB color cube as three coordinates R, G, B as illustrated in Fig. 3.1(a), 3.3(a), and 3.5(a). For convenience, RGB is mapped to the XYZ coordinate system as shown. In the second step (positive class plane selection), we put 256 planes into the RGB cube along with R (X) axis so that each integer location of R axis has a plane parallel to GB plane as seen in Fig. 3.1 (b), 3.3(b), and 3.5(b). Only a limited number of positive planes are shown. One can select either G axis or B axis as the initial axis since there is no specific reason to select one particular axis. In our study we select R axis to put planes along with. Then, we assign a number (from 0 to 255) to each plane (i.e., Plane#0, Plane#1, … Plane#255). Among these 256 planes, we select only planes with positive class pixels. Each selected plane is called a ‘Positive plane’.

Each positive plane contains a projection of positive pixels at the corresponding location, and is treated as a 2D model at the relevant location. For instance, Plane#0 at the location (0, 0, 0) is treated as a model for positive class examples that has a R (X) value of zero (0). This method inherits fast classification as it already possesses the property of eliminating non-relevant class examples in the training process. Finally, we model each positive plane using convex hulls. A brief introduction to convex hull is given next.

3.2.2.1.1 Convex Hull Modeling

Algebraically, the convex hull of dataset X can be characterized as the set of all of convex combinations of finite subsets of points from X: that is, the set of points of the form   j=1n∝ixj, where n is an arbitrary non-zero positive integer, the numbers ∝i are non-negative and sum to 1, and the points xj are in X. So, the convex hull Hconvex(X) of set X is given in Equation 1, where the αi is a fraction between 0 and 1.

Hconvex(X)=i=1k∝ixixi ∈X,∝i∈R,∝i ≥0, i=1k∝i=1, k=1,2,…. (3.1)

To generate the convex hull points that adhere to the constraints given in equation 3.1, we use the quick hull algorithm introduced in [68]. The basic steps of the quick hull algorithm are given below and a graphical representation is given in the Figure 3.3.

- Find the furthest and the closest points along the x axis; these two points will be included in the convex hull points set.

- Divide the data set into two haves using the line drawn between two points selected in step 1.

- Select a point on one side of the line drawn that is the furthest point from the line. This point along with two points selected in the step 1 will create a triangle.

- The points lying inside of that triangle will be discarded as they cannot be part of the convex hull.

- Repeat the steps 3 and 4 on the two lines formed by the triangle (Two new lines formed).

- Iterate until no more points are left.

| (a) Data points | (b) Selecting the two points along x axis |
| --- | --- |
| (c) Forming a triangle with the selected points | (d) Final convex hull |

Figure 3.3  Basic steps of convex hull generation

3.2.2.1.2 Outlier Removal

After obtaining the convex hull points set, we perform a repetitive outlier removal procedure in which we remove outliers in several stages in order to improve the accuracy. For most of the datasets are carefully selected, first level of outlier removal would perform better. At the first level of outlier removal we calculate the convex hull points of the set-difference between Hconvex (X) and X itself. An equation to get the dataset without outliers is shown in Equation 3.2. The subscript i represents the level of outlier removal. This process is a recursive approach with the depth of recursion depends on the number of outlier removal level required. We represent the level of outlier removal as a subscript in the equation as Hconvex(i) (X), with i = 0 representing the convex hull with no outlier removal and i  = 1 with one level of outlier removal and so on.

HConvexiX=HConvex(X-n=0i-1HconvexnX) 	 			    (3.2)

After performing the optimal number of levels of outlier removal, we record the plane number along with the set of hull points of that particular plane. This optimal number of levels can be decided experimentally. The training model is built out of planes along with their hull points. This procedure is done for all the positive class planes.

3.2.2.1.3 Training the Model with Bite-block, blood, and stool video Frames

The pixel values of green bite-block, blood, and stool examples are projected into RGB color space and obtain the subset of data that intersect with each hyper plane at each integer position of Red (X) axis. If the number of data in a subset is non-zero, then the corresponding plane is a green bite-block, blood, or stool positive plane. The selection of positive planes is depicted in Fig. 3.4(a) and 3.4(b). Only a limited number of positive planes are shown to illustrate the technique.

| (a) | (b) |
| --- | --- |

Figure 3.4 (a) RGB cube and corresponding locations of pixels for each object, and mapping of RGB axis to XYZ axis (within brackets), and (b) Several planes inserted into the RGB cube of (a).

An example of a positive plane from green bite-block, blood, and stool datasets can be seen in Fig. 3.5 (a), Fig. 3.6 (a), and Fig. 3.7 (a), respectively. Then I model each positive plane with a convex hull which is shown in Fig. 3.5(c), Fig. 3.6(c), Fig. 3.7(c), respectively.  Fig. 3.5(d), Fig. 3.5(d), and Fig. 3.5(d) show first level of noise removal on dataset shown in Fig 3.5(a), Fig 3.6(a), and Fig 3.7(a), respectively.

| (a) | (b) |
| --- | --- |
| (c) | (d) |

Figure 3.5 (b) Positive class examples (green bite-block pixels) projected on a positive plane (plane#20) as looking into the RGB cube from right side in (b),  (c) Convex hull of the positive class examples, and (d) Convex hull (in green) after first level outlier removal.

| (a) | (b) |
| --- | --- |
| (c) | (d) |

Figure 3.6 (a) Positive class examples (blood pixels) projected on a positive plane (plane#150) as looking into the RGB cube from right side in Fig. 4(b),(b) Convex hull of the positive class examples , and (c) Convex hull (in green) after first level outlier removal.

| (a) | (b) |
| --- | --- |
| (c) | (d) |

Figure 3.7 (a) Positive class examples (stool pixels) projected on a positive plane (plane#250) as looking into the RGB cube from right side in Fig. 3.5(b),  (b) Convex hull of the positive class examples , and (c) Convex hull (in green) after first level outlier removal.

3.2.2.2 Training the Model with HSV Color Space

RGB color space is the directly accessible color space in real time colonoscopy procedure recording environment. Performing computations gives a better performance when it uses RGB color space. But when it comes to accuracy, based on the discrimination power of the color spaces, HSV color space out performs RGB color space. Therefore, using HSV color space is a necessity to achieve a better accuracy. First, I transform RGB color space information into HSV color space information using the transformation given in the equation 3.3. And then follow the same methodology as per the RGB color space.

Cmax=maxR,G,B

Cmin=min⁡(R,G,B)

∆ = Cmax- Cmin

H= 600×G-B∆, Cmax= R600×B-R∆, Cmax=G600×R-G∆, Cmax=B

S= 0   ,   ∆ =0∆Cmax , ∆ <>0

V= Cmax                                                                                                                                (3.3)

Each positive class plane contains a projection of positive pixels at the corresponding location, and is treated as a 2D model at the relevant location. For instance, Plane#0 at the location (0, 0, 0) is treated as a model for positive class examples that has a V (Z) value of zero (0). This method inherits fast classification as it already possesses the property of eliminating non-relevant class examples in the training process. Finally, we model each positive plane using convex hulls.

3.2.2.2.1 Training the Model with Bite-block, blood, and stool video Frames

The pixel values of green bite-block, blood, and stool examples are projected into HSV color space and we obtain the subset of data that intersect with each hyper plane at each integer position of Value (Z) axis. If the number of data in a subset is non-zero, then the corresponding plane is a green bite-block, blood, or stool positive plane, respectively. The selection of positive planes is depicted in Fig. 3.8(a) and 3.8(b). Only a limited number of positive planes are shown to illustrate the technique.

| (a) | (b) |
| --- | --- |

Figure 3.8 (a) HSV cube and corresponding locations of example pixels in the HSV color cube, and mapping of HSV axis to XYZ axis (within brackets), and (b) Several planes inserted into the HSV cube of (a). First row: Green Bite Block, second row: Blood and third row: Stool.

An example of a positive plane from green bite-block, blood, and stool datasets can be seen in Figure 3.9. Then I model each positive plane with a convex hull which is shown in Figure 3.9(b).  Figure 3.9(c) shows first level of noise removal on dataset shown in Figure 3.9(a).

| (a) | (b) | (c) |
| --- | --- | --- |

Figure 3.9 (a) Positive class examples projected on a positive plane (plane #20) as looking into the HSV cube from top in Figure 3.8(b). (b) Convex hull of the positive class examples (red polygon), and (c) Convex hull (green polygon) after first level outlier removal. First row: Green Bite Block, second row: Blood and third row: Stool.

3.2.2.2.2 Detection Stage for Convex Hull Model

In this stage, a video frame that is unseen and need to classify into one of three cases (bite-block, blood, and stool) is processed one pixel at a time. Determination of the label of a pixel is performed by evaluating it against the classification model generated in Section 3.2.2.  In the case of HSV color space, an unseen video frame is transformed into HSV color space first. Once there is a pixel to be classified, the R (V value in the HSV model) value of the pixel is obtained and used as the index to pick the corresponding positive plane. For example, if the R value of a pixel to be classified is 5, then Plane#5 is selected and examined if it is a positive class plane. This will dramatically reduce the number of comparisons so that the searching time is significantly reduced. In other words, the detecting time of the proposed technique is dependent on neither the number of positive planes nor how many positive examples in the corresponding plane. For the labeling of the pixel, it is evaluated against to the convex polygon of the corresponding positive plane. Pixels that are either on or inside the convex polygon are labeled as positive class examples. There is a separate model generated for each, green bite-block, blood, and stool pixels detections. Each model is generated based on the positive class training examples of each case (green bite-block, blood, and stool)

## 3.3 Boston Bowel Preparation Scale (BBPS) Generation

In this section, I will discuss a method of automatically computing BBPS score based on the percentages of stool areas obtained using the methodology proposed. the authors in [11] proposed ‘Boston Bowel Preparation Scale’ (BBPS) in which the terms “excellent,” “good,” “fair,” and “poor,” were replaced by a four-point scoring system applied to each of the three broad regions of the colon: the right colon (including the cecum and ascending colon), the transverse colon (including the hepatic and splenic flexures), and the left colon (including the descending colon, sigmoid colon, and rectum). These six parts of colon can be seen in Figure 1.1, and the relationships between the terms and the points can also be seen in Table 3.1.

Table 3.1

Relationship between the quality term and the quality points

| Quality Term | Quality Point |
| --- | --- |
| Excellent | 3 |
| Good | 2 |
| Fair | 1 |
| poor | 0 |

The points in Table 3.1 are assigned as follows:

0 = Unprepared colon segment with mucosa not seen due to solid stool that cannot be cleared.

1 = Portion of mucosa of the colon segment seen, but other areas of the colon segment not well seen due to staining, residual stool and/or opaque liquid.

2 = Minor amount of residual staining, small fragments of stool and/or opaque liquid, but mucosa of colon segment seen well.

3 = Entire mucosa of colon segment seen well with no residual staining, small fragments of stool or opaque liquid.

Each region of the colon receives a “segment score” from 0 to 3 and these segment scores are summed for a total BBPS score ranging from 0 to 9. Therefore, the maximum BBPS score for a perfectly clean colon without any residual liquid is 9, and the minimum BBPS score for an unprepared colon is 0.

I compute the BBPS score automatically for a colonoscopy video. A colonoscopy video consists of two phases: an insertion phase and a withdrawal phase as seen in Figure 3.10. During the insertion phase, a flexible endoscope (a flexible tube with a tiny video camera at the tip) is advanced under direct vision via the anus into the rectum and then gradually into the cecum (the most proximal part of the colon) or the terminal ileum. During the withdrawal phase, the endoscope is gradually withdrawn. The purpose of the insertion phase is to reach the cecum or the terminal ileum. Careful mucosa inspection and diagnostic or therapeutic interventions such as biopsy, polyp removal, etc., are performed during the withdrawal phase.

Figure 3.10 Two Phases in Colonoscopy Video

The recorded colonoscopy video is divided into insertion phase and withdrawal phase automatically using the techniques we developed [69]. In our implementation, the right colon has the last 40% of insertion phase plus the first 30% of withdrawal phase. The transverse colon has the middle 30% of insertion phase plus the middle 30% of withdrawal phase. The left colon has the first 30% of insertion phase plus the last 40% of withdrawal phase. These numbers are based on our experiments and the opinion of the domain expert. We calculate these score values mathematically based on the stool percentage values obtained above for each frame. We assign a score value for each frame based on the stool pixel percentage present in the frame, and calculate the numerical average for each colon segment (right colon, transverse colon, and left colon) for the final score value.  The stool percentage values and the corresponding score values are shown in the table 3.2.

Table 3.2

Stool percentage in a frame and the assigned score value

| Stool percentage % | Score value assigned |
| --- | --- |
| 0 – 10 | 3 |
| 11- 25 | 2 |
| 26 – 50 | 1 |
| 51 – 100 | 0 |

## 3.4 Integration of Methodology in Real Time Software Development Kit

SAPPHIRE middleware is a framework to process real time video streams. This framework is specially built aiming at endoscopy video processing. SAPPHIRE is a configurable multi module system so that modules performing literally different tasks, from object detection to motion to camera motion estimation, can be integrated. There is one critical requirement that every module must satisfy in order to be integrated into SAPPHIRE without performance degradation. That is any module should finish its processing within 33ms. The method proposed in this dissertation is capable of producing a better result while adhere to the requirements of SAPPHIRE. The general architecture of the SAPPHIRE is given in the Figure 3.11. In order to be the SAPPHIRE middle ware, any module needs to follow a set of programming rules called SAPPHIRE Application Programming Interface (API). SAPPHIRE middle ware communicates with the modules using the API provided by the SDK. Structure of the SAPPHIRE middleware is given below.

Figure 3.11 SAPPHIRE middle ware architecture. This thesis work marked with red circles.

The proposed method is being applied in the real world applications successfully. The case study, stool detection, has being implemented and tested in a clinical setting. This implementation estimates the amount of stool debris available in the colon when a colonoscopy procedure is performed. Determination of amount of stool debris available in the colon plays a critical role as explained in the introduction section.  The implemented methodology has been integrated into the real time video processing framework, SAPPHIRE. This framework is built to accept video signals from the Colonoscope and process information in each video frame. Then, this information is being display on a head up display to give doctors a feedback of their work. A sample snapshot of the proposed method in work is depicted in Figure 3.12. In addition to stool detection, green bite-block detection is also in use. This module determines the type of the procedure, upper endoscopy or colonoscopy, at the very beginning of the procedure.

| (a) | (b) |
| --- | --- |

Figure 3.12 Application of proposed method in a pilot run. (a) Performance metrics of the running modules in average time taken in milliseconds/frame; (b) head up display (HUD)

of the physician with related modules are marked with red.

## 3.5 Performance Gain through Massive Parallelism

Quality measurements in colonoscopy videos involve intensive image processing. As a result, the time taken for a given task to complete is considerably high. To get the real benefit of using a computer program in quality measurements, one must improve the performance of the program to reduce the time taken to perform a given task. Algorithm optimization is one of the methods available to accomplish this task. There are situations, even though optimal algorithm is being used, in which the time complexity of a given algorithm is beyond the expectations. In this situation, parallel computing is the first among several other techniques to come for the rescue. In this study, I used heterogeneous parallel computing platform (Graphics Processing Unit - GPU) to overcome the speed barrier of the problem formulated. There are two different parallelism, data parallelism and task parallelism. The problem I am dealing with is inherently data parallel.  Hence, I am using data parallelism in this study. In this scenario, the problem data set is sub divided into many number of partitions and perform the algorithm on each of them in parallel. The number of data partitions is basically defends on the capability of the GPU device available in the system. With a modern day computer, this number can go up to thousands without any performance degradation.

NVIDIA GTX460 GPU with CUDA programming and OpenCL API were used to achieve a better acceleration with which the proposed methodology can perform in real time with a reduced burden to the underlying computer system. OpenCL architecture and the proposed implementation are discussed in brief next.

3.5.1 OpenCL

OpenCL (Open Computing Language) is a cross platform parallel computing API extension to C language for heterogeneous computing devices [70]. OpenCL code is portable across various devices with correctness guaranteed.  There is no guarantee for a consistent performance gain across different target devices. Performance gain is achieved through the massive parallelism. When it comes to the fast computation, the memory model plays a major role. OpenCL memory model is given in the Figure 3.13.

Compute Device

Compute Device Memory

Global Memory

Global/Constant Memory Data Cache

Local Memory

Compute Unit 1

Private

Memory

Work-Item 1

Private

Memory

Work-Item M

Compute Unit N

Private

Memory

Work-Item 1

Private

Memory

Work-Item M

Local Memory

Figure 3.13 OpenCL memory model

3.5.2 OpenCL Execution model

OpenCL execution model is a combination of host and device programs written in C. Inherently serial or modestly parallel parts of the execution model are included in the host code while highly parallel parts are included in the device code. An OpenCL kernel (piece of program run on GPU Device) is executed by an array of work items. All these work items run the same code as Single Program Multiple Data (SPMD). OpenCL host code mostly triggers device execution and memory allocation.

3.5.3 Proposed OpenCL Implementation

Amongst the very time consuming modules, the blurry detection module comes first. The blurry detection module has several steps and need to implement the most time consuming part in GPU. The basic block diagram of the algorithm is given in the Figure 3.14.

Read image

Convert to Gray scale

Edge detection

Enhance connectivity

Block sum generation

Apply threshold

Figure 3.14 Block diagram of the blurry detection module

The Edge detection (Sobel edge) detection part of the algorithm is implemented in the GPU as it inherits massive parallelism. The video frame is read from the video stream and converts it to gray scale. The gray scaled image is then transferred into the GPU and stores it in the global memory. Additionally, Sobel masks are transferred into the constant memory of the GPU. Host code triggers the execution of Sobel convolution in the GPU. Finally, edge map result is transferred from the GPU device to host for further processing.

## 3.6 Blood based anomaly (Erythema) detection

Erythema is a blood based anomaly seen on human skin or on internal organs’ walls such as colon wall. The main characteristic of Erythema condition is the redness. As the first step, it is necessary to get the color emphasis mat that emphasis red color while suppressing other color information. I use a technique named minimum red difference that is computed as the minimum difference between red channel and other two channels (Green and Blue). This is achieved by applying the Equation 3.4. Then we subtract gray scale image of the same frame from the red difference image mat. Figure 3.16 shows the result of the step of obtaining red difference mat. The basic steps of the detection process are given in the Figure 3.15.

Red difference mat=Min( Red-Green, Red-Blue)

Red emphasized mat=Red difference mat-gray scale image		    (3.4)

Video frame

Emphasize red color channel

Obtained red boundary edge map

Remove isolated pixels (erosion)

Fill gaps (dilation)

Generate connected components

Generate statistical measures

Figure 3.15 Block diagram of Erythema detection

| (a) | (b) |
| --- | --- |

Figure 3.16 Red difference mat of (a) healthy and (b) Erythema video frames.

Minimum red difference mat contains both red boundary and non-red boundary regions. In our application domain, this includes redness regions and blood vessels. The main approach is to distinguish Erythema by edge characteristics of red boundary edge map. The canny edge detector [71] is used to obtain the edge map of both red and non-red boundary regions. To obtain the boundary pixels that are resulted only from red boundary pixels, we perform pixel wise AND operation between canny edge result and red emphasized mat. This is shown in Equation 3.5. Result is shown in Figure 3.17.

Red boundary pixels map =(Canny edge result) ∩ (Red emphasized mat) 	    (3.5)

| (a) | (b) |
| --- | --- |
| (c) | (d) |

Figure 3.17 (a) Original frame, (b) Red emphasized mat, (c) canny edge result, (d) Red boundary pixel map.

Next isolated pixel removal and closing operations are performed. The morphological operations dilation followed by erosion is performed with 3x3 neighborhoods. The result is shown in the figure 3.18.

| (a) | (b) |
| --- | --- |

Figure 3.18 (a) Red boundary pixel map, (b) After performing morphological operations for row1: Healthy and row 2: Erythema condition.

The next step is to distinguish frames with healthy blood vessels from frames that have Erythema conditions. In this step, we obtain the 8 neighborhood connected components of the Red boundary pixel map. Connected component labeling is done using the algorithm outlined in [72], the basic steps of the algorithm are 1. Search for the unlabelled pixel p in the binary image. 2. Use a flood-fill algorithm to label all the pixels in the connected component containing p. 3. Repeat steps 1 and 2 until all the pixels are labeled.  After obtaining the connected components, we use statistical measures such as number of connected components, number of elements in each component, and the variance of the number of elements in each component. These measures are greatly differing for healthy frames that have healthy blood vessels and unhealthy frames with Erythema condition.

# Chapter 4
Experimental setup & Results

In this section, accuracy and performance data are presented in two sub sections, one for block division method and the other for convex hull method. And BBPS calculation evaluation, performance gain through massively parallel implementation, sample results of the proposed method, and results of Erythema detection are also provided.

## 4.1 Block Division Model

In this section, results of the proposed method and comparison of block division method are presented. For the comparison, I used Support Vector Machine and KNN classifier. Based on the results, it is clearly seen that the proposed method out performs both classifiers mentioned before in terms of speed. That makes the proposed method well suited in the domain of colonoscopy video analysis.  All the computations in our experiments were performed on a PC-compatible workstation with an Intel Pentium D CPU, 1GB RAM, and Windows XP operating system.

4.1.1 Data set

For our experiments, 58 videos recorded from Fujinon colonoscope were used. The average length of the videos is around 20 minutes, and their frame size is 720 x 480 pixels. We extracted 1,000 frames from all 58 colonoscopy videos, in which each frame has at least one stool region. The domain experts marked and confirmed the positive regions in these frames. From half (500) of these frames, we filtered out duplicate examples (pixels), and obtained only unique positive examples for the training. Table 4.1 shows the positive pixels used for the training. In the case of stool detection, using 31,858 stool pixels, we followed all the steps in Section 3.2.1. Then, we used all the pixels in the remaining half (500) of the frames for the detecting discussed in Section 3.2.1. We assess the effectiveness of our proposed algorithm at the pixel level by determining the performance metrics Sensitivity and Specificity. For a comparison purpose, we implemented the method in our previous work [12] using the same dataset mentioned above. Table 4.2 shows this comparison.

Table 4.1

Number of examples (pixels) used in the training stage.

| Stool Dataset |  |
| --- | --- |
| Positive (stool) | 31,858 |

Table 4.2

Performance comparison with the previous work

| Sensitivity |  | Specificity |  |
| --- | --- | --- | --- |
| New | Old | New | Old |
| 92.9 (%) | 90.6 | 95.0 | 93.8 |

Also, we implemented the well-known KNN (K-Nearest Neighbor, K=1 in our study) classifier using the same dataset mentioned above to see how fast the proposed method can perform. Table 4.3 presents the speed comparison for KNN classifier with our proposed method. It takes more than 420 seconds (7 minutes) to evaluate a frame (720 x 480 pixels) in the KNN.  On average, it takes 0.00127 seconds to evaluate one pixel. However, it takes around 11 seconds to evaluate a frame (720 x 480 pixels) in the proposed method.  If we consider only the detection, it takes less than one second to evaluate one frame. This is a significant achievement.  As mentioned in Chapter 1, we need to process 3,600 frames to generate a colonoscopy report for 20 minute colonoscopy video.  It is not practical to use KNN classifier even though it can provide 98% of sensitivity and specificity on average.

Table 4.3

Average Time taken for KNN and the proposed method.

| KNN (trainging +detection) | Proposed method (Detection) | Proposed Method (Training ) |
| --- | --- | --- |
| 4,37.5 (seconds) | 0.9 | 10.0 |

Figure 4.1 lists some results obtained using the proposed method. The numbers (1, 2 and 3) on each frame represent the regions semi-automatically segmented for the determination of ground truth. For instance, region 2 in Figure 4.1(a), region 1 in Figure 4.1(b), and region 1 in Figure 4.1(c) were labeled as stool by the domain experts. The first row consists of the original frames with the ground truth marked, and the second row contains the results from our method for the first row (stool regions are marked with blue).

| (a) | (b) | (c) |
| --- | --- | --- |

Figure 4.1 Sample results from the block division methodology

## 4.2 Convex Hull Model

In this section, I evaluate the proposed convex hull method in terms of accuracy and computation speed. For the evaluation, I compare the proposed method with the K-NN and SVM classifiers for both accuracy and speed. In addition, I provide a comparison of accuracies obtained from the proposed method with HSV and RGB color spaces. Finally, I present an accuracy comparison of the proposed method for different axes as the initial axis (i.e. accuracy of the proposed method when placing the planes along Hue, Saturation, and Value axes).

For our experiments, I used a set of 68 real colonoscopy and upper endoscopy videos. This video set contains 20 videos recorded from Fujinon scope, and 48 videos recorded from Olympus scope to make it scope-independent. From this video set, we extract total 2,000 video frames showing positive regions of each object as seen in Table 4.4. The ground truths from these frames have been extracted and confirmed by our domain expert. For bite-block, currently only Olympus video frames are available. The average length of the videos is around 20 minutes, and their frame size is 720 x 480 pixels. These frames have a black boundary around edge of frame as seen in Figure 1.3. I ignore all black boundaries. From these frames, we obtained only unique positive examples of total 290,000 pixels for this experiment as seen in Table 4.5.

Table 4.4

Number of frames used for the experiment.

| Object Type | Fujinon | Olympus | Total Frames |
| --- | --- | --- | --- |
| Bite-block | 0 | 700 | 700 |
| Blood | 100 | 400 | 500 |
| Stool | 300 | 500 | 800 |
| Total | 400 | 1,600 | 2,000 |

Table 4.5

Number of examples (pixels) used for the experiment

| Object Type | Positive Examples | Negative Examples | Total Examples |
| --- | --- | --- | --- |
| Bite-block | 140,000 | 760,000 | 900,000 |
| Blood | 44,000 | 856,000 | 900,000 |
| Stool | 106,000 | 794,000 | 900,000 |

All the computations in our experiments were performed on a PC-compatible workstation with an Intel Core i7 quad core CPU, 8GB RAM, and Windows 7 operating system.

4.2.1 Accuracy Evaluation

In this section, I compare the proposed method with the K-NN and SVM classifiers for accuracy. I present our results using commonly used performance metric accuracy. As seen in Table 4.6, Actual Class is the class that a particular example belongs (positive or negative), and the Predicted Class is the result from the classifier, where, TP –True Positive, TN – True Negative, FP – False Positive, and FN – False Negative. Accuracy is defined as (TP+TN)/(TP+FP+FN+TN), and it represents the number of correctly classified instances.

Table 4.6

Accuracy metric

|  | Predicted Class |  |  |
| --- | --- | --- | --- |
| Actual Class |  | Positive | Negative |
|  | Positive | TP | FN |
|  | Negative | FP | TN |

First, I partition the testing dataset of pixels (shown in Table 4.5) into nine sub-data sets each having 100,000 data points by adding appropriate numbers of negative pixels. Then, I incrementally add subsets to evaluate and compare two classifiers with our proposed method. After incrementing the size of the data set, a testing is carried out as a 10-fold cross validation [73] to achieve a better estimation. Accuracy comparisons for three object detections are given in Figure 8. The proposed method’s accuracy is very close to the accuracy of SVM, and far better than KNN in the bite-block detection (Figure 4.2(a)) and the blood detection (Figure 4.2(b)). For the stool detection, the proposed method’s accuracy is better than both classifiers (Figure 4.2(c)). This is due to the fact that the hue range in stool examples is much larger than bite-block and blood examples, and the proposed method is more robust than SVM and KNN in handling variations in our applications. The effect of hue range is getting larger when more data points are considered, and causes the accuracies of SVM and KNN to get lower with the increasing size of data set as shown in Figure 4.2(c).

4.2.1.1 Detection Accuracy for Bite-block, Blood, and Stool

In this section, we present accuracy comparison of three algorithms, SVM, K-NN, and proposed method for green bite block, blood, and stool detection. It is clearly seen from the graphs that the proposed method outperforms SVM in two instances and get closer to SVM in one instance. Proposed method is getting its best performance with the increasing size of the dataset. And it can keep consistency in all three case studies where other two methods failed to be consistent.

(a)

(b)

(c)

Figure 4.2 Accuracy comparisons of proposed method (Hull), SVM, and K-NN for (a) Bite-block, (b) Blood, and (c) Stool detections

4.2.2 Performance Evaluation

We evaluate the proposed algorithm against SVM and K-NN classifiers for speed performance. We represent speed performance as time taken to process large number of data points and incrementally add data points to make it larger at each evaluation. And the Figure 4.3 shows gradual degradation of speed performance of each algorithm with the increasing number of data points. We, in our domain, are aiming at frame level object detection. Hence, we expect the proposed method to perform well with a number of data points equal to 720x480 = 345,600 that is the resolution of a colonoscopy video frame. This test was performed with the gradually increasing sample size to demonstrate the applicability of each technique in the domain of large data set processing.

4.2.2.1 Detection Speed for Bite-block, Blood, and Stool

Proposed method shows promising applicability in this context. Specially, the proposed method is well suited to be used in the context of real-time processing. The other two well known methods, SVM and K-NN, perform closely to proposed method in terms of accuracy. But they are very inefficient in the context of real-time processing.

(a)

(b)

(c)

Figure 4.3 Speed comparisons of proposed method (Hull), SVM, and K-NN for (a) Bite-block, (b) Blood, and (c) Stool detections

4.2.3 Accuracy comparison of the proposed method in RGB and HSV color spaces

This subsection provides an accuracy comparison of the proposed method in RGB and HSV color spaces. For the RGB color space, the red axis was used as the initial axis. And the value axis was used as the initial axis in HSV color space. The accuracy calculation was done as the same way in Section 4.2.1. Table 4.7 shows that the HSV color space outperforms the RGB color space in all three object detections.

Table 4.7

Accuracy comparison between RGB and HSV color spaces

| Number of Data Points (* 100K) | Bite-block |  | Blood |  | Stool |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | RGB | HSV | RGB | HSV | RGB | HSV |
| 1 | 0.97 | 0.99 | 0.99 | 0.99 | 0.99 | 0.99 |
| 2 | 0.98 | 0.99 | 0.96 | 0.99 | 0.99 | 0.99 |
| 3 | 0.98 | 0.99 | 0.96 | 0.99 | 0.99 | 0.99 |
| 4 | 0.98 | 0.99 | 0.96 | 0.99 | 0.98 | 0.99 |
| 5 | 0.98 | 0.99 | 0.95 | 0.99 | 0.98 | 0.99 |
| 6 | 0.98 | 0.99 | 0.95 | 0.99 | 0.98 | 0.99 |
| 7 | 0.98 | 0.99 | 0.95 | 0.99 | 0.98 | 0.99 |
| 8 | 0.98 | 0.99 | 0.96 | 0.99 | 0.98 | 0.99 |
| 9 | 0.98 | 0.99 | 0.96 | 0.99 | 0.98 | 0.99 |
| Average | 0.98 | 0.99 | 0.96 | 0.99 | 0.98 | 0.99 |

4.2.4 Accuracy Comparison of the Proposed Method with Different Initial Axes

This section provides an accuracy comparison of the proposed method with different initial axes (selecting Hue or Saturation axis instead of Value axis). The results are shown in Table 4.8 in which three columns for each object; Hue, Saturation (Sat), and Value (Val). Testing was carried out as the same way in Section 4.2.1. As seen in the table, when the initial axis is value, the accuracies for all three objects are better. To achieve a better accuracy, the initial axis should be value axis.

Table 4.8

Accuracy of the proposed method with all three initial axes

| Data points (*100K) | Green bite-block |  |  | Blood |  |  | Stool |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Hue | Sat | Val | Hue | Sat | Val | Hue | Sat | Val |
| 1 | 0.99 | 0.99 | 0.99 | 0.71 | 0.88 | 0.99 | 0.99 | 0.99 | 0.99 |
| 2 | 0.99 | 0.99 | 0.99 | 0.76 | 0.85 | 0.99 | 0.99 | 0.99 | 0.99 |
| 3 | 0.99 | 0.99 | 0.99 | 0.83 | 0.86 | 0.99 | 0.96 | 0.98 | 0.99 |
| 4 | 0.99 | 0.99 | 0.99 | 0.86 | 0.87 | 0.99 | 0.93 | 0.95 | 0.99 |
| 5 | 0.99 | 0.99 | 0.99 | 0.89 | 0.87 | 0.99 | 0.91 | 0.94 | 0.99 |
| 6 | 0.99 | 0.99 | 0.99 | 0.91 | 0.88 | 0.99 | 0.9 | 0.93 | 0.99 |
| 7 | 0.99 | 0.99 | 0.99 | 0.92 | 0.89 | 0.99 | 0.9 | 0.93 | 0.99 |
| 8 | 0.98 | 0.98 | 0.99 | 0.93 | 0.91 | 0.99 | 0.92 | 0.94 | 0.99 |
| 9 | 0.97 | 0.97 | 0.99 | 0.94 | 0.92 | 0.99 | 0.92 | 0.94 | 0.99 |
| Average | 0.99 | 0.99 | 0.99 | 0.86 | 0.88 | 0.99 | 0.94 | 0.95 | 0.99 |

4.2.5 Evaluation Examples

Figure 4.4 shows examples of results obtained using the proposed method. The first row of Figure 4.4 consists of the original frames with the ground truth marked for stool, green bite bock and blood. The second row contains the results from our proposed method for each frame listed in first row. For these three examples, three training models are used. Blue colored pixels represent the pixels that our proposed method detected as positive class pixels in each application.

| (a) | (b) | (c) |
| --- | --- | --- |
| (d) | (e) | (f) |

Figure 4.4 (a) Frame with a stool region, (b) Frame with a green bite block region, (c) Frame with a blood region, (d) Result of our proposed method for frame in (a) using stool model, (e) Result of the method for the frame in (b) using green bite block model, and (f) Result of our method for the frame in (c) using blood model.

## 4.3 BBPS score

We generated BBPS scores for all 58 videos and list randomly selected 5 results in Table 4.9 having a comparison with the ground truth scores suggested by domain experts. The column ‘Ground truth BBPS’ in Table 4.9 is the average score values from three different experts. It is rarely found a video with all three experts come closer in terms of the scores. Therefore, it is hard to find the definite score for a given video. We took the average of three BBPS ground truths as our target value to be reached.  As seen in the table, the calculated values are very close to the ground truths.

Table 4.9

Comparison of Calculated BBPS scores with Ground truth BBPS scores.

| Video ID | Calculated BBPS | Ground Truth BBPS |
| --- | --- | --- |
| 1 | 7 | 6 |
| 5 | 4 | 3 |
| 9 | 6 | 6 |
| 10 | 6 | 7 |
| 13 | 6 | 5 |

## 4.4 Performance Gain through Massive parallelism

In this section, performance gain by using the GPU with OpenCL is presented. It is clearly seen that with the use of GPU with OpenCL, the targeted module can process a video frame within the given time slot bounded by the real time processing requirement. That is the 33ms time constraint. Any module to process 30 frames per second in real time systems; it should finish its work for a frame within 33ms. I measure the time performance at three points in the algorithm; 1) Image reading and gray scale conversion; 2) Sobel edge detection; 3) Enhance connectivity, block sum generation, and thresholding. Time performance for above mentioned sections is shown in the Table 4.10.

Table 4.10

Time performance of the blurry detection module in the CPU and GPU

| Check Point | 1 | 2 | 3 | Total |
| --- | --- | --- | --- | --- |
| GPU with OpenCL (Sec/Frame) | 0.102 | 0.015 | 0.1 | 0.209 |
| CPU (sec/Frame) | 0.102 | 0.176 | 0.1 | 0.378 |

## 4.5 Erythema Detection

In this section, the results of the Erythema detection are provided. As can be seen in the Table 4.11, there is a clear cut between healthy video frames and Erythema video frames in terms of statistical measures generated. These statistical measures can be used to separate healthy frames from Erythema frames.

Table 4.11

Statistical measures for Healthy and Erythema condition

| Statistical Measure | Healthy video frame | Erythema video frames |
| --- | --- | --- |
| Average Connected components | 314.11 | 609.28 |
| Average number of elements in a component | 46.90 | 42.59 |
| Standard Deviation of number of elements | 53.69 | 43.13 |

# chapter 5
conclusion

Medical video analysis for quality assessment is a key subject area in the medical domain. Specifically, endoscopy procedures are subjected to quality assessments. Quality assessment will improve the procedures’ productivity and the increase the patient survival rate. Colonoscopy video, one of endoscopy procedures, analysis inherently involved with huge amount of data. With 20 minutes of video at a rate of 29.97 frames per second, there are about 36,000 frames to analyze. To provide quality measurements in real time with this many frames is a challenging task. State of the art methods are failing at very large data sets and hence a novel approach was needed.

In this dissertation, a novel method of object detection has been proposed. This novel method was developed to detect three classes of objects found in the colonoscopy procedures. The proposed method can perform the object detection with a great accuracy by adhering to the real time processing requirements very well.

The proposed method is capable of learning from a sub set of training data. And it is capable of building a complete training model by dividing the whole data set into many sub data sets and generating a sub model for each sub set of data. For the modeling of each sub data set, a convex hull is used. This concept can eliminate the lazy learning problems associated with the models such as k-NN classifier. It can learn incrementally and hence does not need to keep the whole dataset for re-training as per the SVM.

Further, there are four application of the proposed method have been provided in this dissertation; green bite-block detection, blood detection, and   stool detection. In addition, blood detection has been used to detect Erythema condition in the colon wall and stool detection has been used to estimate the BBPS score value for a colonoscopy procedure.

The proposed method is currently in a pilot run in a clinical setting and performing successfully with the satisfied expectations.

## 5.1 Future Directions

The current method represents a sub set of data using a convex hull. This would in some instances generate soft modeling of the data set. The one solution for this problem is to model the data set using a concave hull. This approach would approximate the distribution of the data set very closely. And also, investigation of the other domain problems where the proposed method can be adopted is another future work.

# bibliography

- American Cancer Society.:Colorectal Cancer Facts and Figures, American Cancer Society Special Edition 2005, pp. 1–20, 2005.

- Johnson CD, Fletcher JG, MacCarty RL, et al. Effect of slice thickness and primary 2D versus 3D virtual dissection on colorectal lesion detection at CT colonography in 452 asymptomatic adults. AJR American Journal of Roentgenology;189(3):672-80, 2007

- Pabby A, Schoen RE, Weissfeld JL, Burt R, Kikendall JW, Lance P, et al. “Analysis of colorectal cancer occurrence during surveillance colonoscopy in the dietary prevention trial”. Gastrointestinal Endoscopy, 61(3): p.385-391, 2005.

- Rex DK,. Bond JH Winawer S, Levin TR, Burt RW, et al. “Quality in the technical performance of colonoscopy and the continuous quality improvement process for colonoscopy: recommendations of the U.S. multi-society task force on colorectal cancer”.  American Journal Gastroenterol, 97(6): p.1296-1308, 2002.

- Douglas KR, John LP, Todd HB, Amitabh C, Jonathan C, Stephen ED, et al: Quality Indicators for Colonoscopy. In: American Journal of Gastroenterology, vol. 101, pp. 873–885, 2006.

- Oh J, Hwang S, Cao Y, Tavanapong W, Liu D,  Wong J, et al.:  “Measuring Objective Quality of Colonoscopy”. IEEE Transactions on Biomedical Engineering.  Vol. 56(9),pp.2190-2196,2009.

- Hwang S, Oh J, Lee J, de Groen PC, Cao Y, Tavanapong W, et al,:. “Automatic Measurement of Quality Metrics for Colonoscopy Videos”. Proc. of ACM Multimedia 2005, p.912-921, Singapore, November 2005.

- Stanek  S, Tavanapong  W,  Wong  J, Oh  J, and de Groen P C: Automatic Real-Time Capture and Segmentation of Endoscopy Video. PACS and Imaging Informatics. In: SPIE Medical Imaging. volume 6919, pp. 69190X-69190X-10. February, 2008.

- Cappel, MS, and Friedel D,: The Role of Sigmoidoscopy and Colonoscopy in the Diagnosis and Management of Lower Gastrointestinal Disorders: Endoscopic Findings, Therapy, and Complications. In: Medical Clinics of North America, vol. 86, pp. 1253–1288, 2002.

- Ness RM, Manam R, Hoen HJ, and Chalasani N: Predictors of Inadequate Bowel Preparation for Colonoscopy. In: American Journal of Gastroenterology, vol. 96, pp. 1797–1802, 2001.

- Lai, E.J., Calderwood, A.H., Doros, G., et al.: The Boston Bowel Preparation Scale: a valid and reliable instrument for colonoscopy-oriented research. In: Gastrointestinal Endoscopy Clinics of North America, 2009; 69: 620-625.

- Hwang S, Oh J, Tavanapong W, Wong, J, and de Groen PC: Stool Detection in Colonoscopy Videos. In: Proc. of International Conference of the IEEE Engineering in Medicine and Biology Society (EMBC), Vancouver, British Columbia, Canada, August, 2008. pp. 3004-3007.

- Muthukudage J, Oh J, Tavanapong W, Wong J,  de Groen PC, Color Based Stool Region Detection in Colonoscopy Videos for Quality Measurements. In: Lecture Notes in Computer Science,2011,Volume 7087/2011,61-72

- Giritharan B, Yuan X, Liu J, Buckles B, Oh J, Tang SJ, Bleeding detection from capsule endoscopy videos, in: Proceedings of the 30th  Annual International Conference of the IEEE Engineering in Medicine and Biology Society, 2008 (EMBS’ 08), Vancouver, British Columbia, Canada, 2008, pp. 4780–4783.

- Manjunath BS, Ohm J, Vasudevan VV, Yamada A, Color and texture descriptors, IEEE Transactions on Circuits and Systems for Video Technology 11 (6) (2001) 703–715.

- Karargyris A, Bourbakis N, A methodology for detecting blood-based abnormalities in wireless capsule endoscopy videos, in: Proceedings of the 8th IEEE International Conference on BioInformatics and BioEngineering, 2008 (BIBE’08), Athens, Greece, 2008, pp. 1–6.

- Bourbakis N, Detecting abnormal patterns in WCE images, in: Proceedings of the 5th IEEE Symposium on Bioinformatics and Bioengineering, 2005 (BIBE’05), Minneapolis, Minnesota, USA, 2005, pp. 232–238.

- Lau PY, Correia P, Detection of bleeding patterns in WCE video using  Multiple features, in: Proceedings of the 29th Annual International Conference of the IEEE Engineering in Medicine and Biology Society, 2007, (EMBS’07), Vancouver, British Columbia, Canada, 2007, pp. 5601–5604.

- Li B, Meng MQ, Computer-based detection of bleeding and ulcer in wireless capsule endoscopy images by chromaticity moments, Computers in Biology and Medicine 39 (2) (2009) 141–147.

- Yun Sub Jung; Young Ho Kim; Dong Ha Lee; Jong Hyo Kim, "Active Blood Detection in a High Resolution Capsule Endoscopy using Color Spectrum Transformation," BioMedical Engineering and Informatics, 2008. BMEI 2008. International Conference on , vol.1, no., pp.859,862, 27-30 May 2008

- Bourbakis, N.; Makrogiannis, S.; Kavraki, D., "A neural network-based detection of bleeding in sequences of WCE images," Bioinformatics and Bioengineering, 2005. BIBE 2005. Fifth IEEE Symposium on , vol., no., pp.324,327, 19-21 Oct. 2005

- Yuning Du; Haizhou Ai; Shihong Lao, "Evaluation of color spaces for person re-identification," Pattern Recognition (ICPR), 2012 21st International Conference on , vol., no., pp.1371,1374, 11-15 Nov. 2012.

- Albiol A., Torres L., and Delp E.J., "Optimum Color spaces for Skin Detection," ICIP 2001 Vol. 1.pp. 122-124.

- Gomiiez G, Sanclhez M., and Suicar L. E., "On Selecting an Appropriate Color space for Skin Detection," Proc. of 2nd ,Mexican Int. Conf on Artificial Intelligenice. pp.69-78. 2002.

- Lissner, I.; Urban, P., "Toward a Unified Color Space for Perception-Based Image Processing," Image Processing, IEEE Transactions on , vol.21, no.3, pp.1153,1168, March 2012.

- Tkalcic, M.; Tasic, J.F., "Colour spaces: perceptual, historical and applicational background," EUROCON 2003. Computer as a Tool. The IEEE Region 8 , vol.1, no., pp.304,308 vol.1, 22-24 Sept. 2003

- Cortes, Corinna, Vapnik, Vladimir N., "Support-Vector Networks," Machine Learning, 20, 1995.

- C.Saunders, M.O.Stitson, J.Weston, L.Bottou, B. Schdieolkopf, and A.Smola, Support vector machine reference manual, Technical Report CSD-TR-98-03, Royal Holloway, University of London, Egham, UK, 1998.

- T.Joachims, Making large-scale support vector machine learning practical, In Advances in Kernel Methods: Support Vector Machines, 1999.

- C.J.Lin, On the convergence of the decomposition method for support vector machines, IEEE Transactions on Neural Networks, 12(6), 2001, 1288-1298.

- L.Palagi and M.Sciandrone, On the convergence of a modified version of SVMlight algorithm, Optimization Methods and Software, 20(2-3), 2005, 315-332.

- J.Platt, Fast training of SVMs using sequential minimal optimization, In B. Schdieolkopf, C.Burges and A.Smola (ed.), Advances in Kernel Methods: Support Vector Learning, MIT Press, Cambridge, MA, 1999, 185-208.

- S.S.Keerthi, S.Shevade, C.Bhattacharyya and K.Murthy, Improvements to Platt's SMO algorithm for SVM classifier design, Tech Report, Dept. of CSA, Bangalore, India, 1999.

- S.S.Keerthi, S.Shevade, C.Bhattacharyya and K.Murthy, Improvements to SMO algorithm for SVM regression, IEEE Transactions on Neural Networks 11(5), 2000, 1188-1193.

- G.Flake, S.Lawrence, Efficient SVM regression training with SMO. Machine Learning, 46(1/3), 2002, 271-290.

- S.S.Keerthi and E.G.Gilbert, Convergence of a generalized SMO algorithm for SVM classifier design, Machine Learning, 46, 2002, 351-360.

- C.J.Lin, Asymptotic convergence of an SMO algorithm without any assumptions, IEEE Transaction on Neural Networks, 13(1), 2002, 248-250.

- P.H.Chen, R.E.Fan and C.J.Lin, A study on SMO-Type decomposition method for support vector machines, Technical Report, Department of Computer Science, National Taiwan University, 2005.

- R.E.Fan, P.H.Chen, and C.J.Lin, Working set selection using the second order information for training SVM, Journal of Machine Learning Research, 6, 2005, 1889-1918.

- D. DeCoste and K. Wagstaff, Alpha seeding for support vector machines, In Proceedings of International Conference on Knowledge Discovery and Data Mining (KDD-2000), 2000.

- C.W.Hsu and C.J.Lin, A simple decomposition method for support vector machines, Machine Learning, 46, 2002, 291-314.

- O.L.Mangasarian and D.R.Musicant, Successive over-relaxation for support vector machines, IEEE Transactions on Neural Networks, 10(5), 1999, 1032-1037.

- C.C.Chang and C.J.Lin, LIBSVM: Software available at http://www.csie.ntu. edu.tw/̃cjlin/libsvm.

- S.S.Keerthi and C.-J. Lin, Asymptotic behaviors of support vector machines with Gaussian kernel, Neural Computation, 15, 2003, 1667-1689.

- J.Suykens and J.Vandewalle, Least squares support vector machine classifiers, Neural Processing Letters, 1999, 293-300.

- J.Suykens. L.Lukas, P.Van Dooren, B.De Moor and J.Vandewalle, Least squares support vector machine classifiers: a large scale algorithm, in Proc. of the European Conference on Circuit Theory and Design, Stresa, Italy, Sep., 1999, 893-842.

- B.Hamers, J.Suykens and B.De Moor, A comparison of iterative methods for least squares support vector machine classifiers, Internal Report 01-110, ESAT-SISTA, K.U.Leuven (Leuven, Belgium), 2001.

- W.Chu, C. J. Ong and S. S. Keerthi, An improved conjugate gradient scheme to the solution of least squares SVM, IEEE Transactions on Neural Networks 16(2) 2005, 498-501.

- S.S.Keerthi and S.K.Shevade, SMO algorithm for least squares svm formulations, Neural Computation, 15(2), 2003, 487-507.

- O.L.Mangasarian and D.R.Musicant, Lagrangian support vector machines, Journal of Machine Learning Research, 1, 2001, 161-177.

- Glenn Fung and L.Mangasarian, Proximal support vector machine classifiers, Proceedings of the 7th ACM conference on knowledge discovery and data mining, ACM, 2001, 77-86.

- Y.J.Lee and O.L.Mangasarian, RSVM: Reduced support vector machines, In Proceedings of the First SIAM International Conference on Data Mining, 2001.

- Kuan-Ming Lin and Chih-Jen Lin, A study on reduced support vector machines, IEEE Transaction on Neural Networks, 14(6), 2003, 1449-1459.

- D. W. Aha, D. Kibler, and M. K. Albert. Instance-based learning algorithms. Machine Learning, 6:37–66, 1991.

- Han K.K., “text categorization using weight adjusted k-nearest neighbor classification,” Technical report, Dept. of CS, University of Minnesota, 1999.

- Huang Z., “A fast clustering algorithm to cluster very large categorical data sets in data mining,” In Proc. SIGMOD Workshop on Research Issues on Data Mining and Knowledge Discovery, 1997.

- Jiang L., Zhang H., Cai Z., and Su J., “Evolutional naïve bayes,” In Proceedings of the 1st International Symposium on Intelligent Computation and its Applications, pages 344–350. China University of Geosciences Press, 2005.

- Kohavi R., John G., “Wrappers for feature subset selection,” Artificial Intelligence, 97:273–324, 1997.

- Langley P., Sage S., “Induction of selective bayesian classifiers,” In Proceedings of Uncertainty in Artificial Intelligence, pages 400–406. Morgan Kaufmann, 1994.

- Stanfill C., Waltz D., “Toward memory-based reasoning,” Communications of the ACM, 29:1213–1228, 1986.

- Wilson D.R., Martinez T.R., “Improved heterogeneous distance functions,” Artificial Intelligence Research, 6:1–34, 1997.

- Jiang J., Zhang H., Cai Z., “Dynamic k-nearest-neighbor naive bayes with attribute weighted,” In Proceedings of the 3rd International Conference on Fuzzy Systems and Knowledge Discovery, pages 365–368. Springer, 2006.

- Kohavi R., “Scaling up the accuracy of naive-bayes classifiers: A decision-tree hybrid,” In Proceedings of the Second International Conference on Knowledge Discovery and Data Mining, pages 202–207. AAAI Press, 1996.

- Langley P., Iba W., Thomas K., “An analysis of Bayesian classifiers,” In Proceedings of the Tenth National Conference of Artificial Intelligence, pages 223–228. AAAI Press, 1992.

- Webb Z. Z. G.I., “Lazy learning of Bayesian rules,” Machine Learning, 41:53–84, 2000.

- Xie Z.,Hsu W., Liu Z., Lee M., “SNNB: A selective neighborhood based naive bayes for lazy learning,” In Proceedings of the Sixth Pacific-Asia Conference on KDD, pages 104–114. Springer, 2002.

- Frank E., Hall M., Pfahringer B., “Locally weighted naive bayes,” In Proceedings of the Conference on Uncertainty in Artificial Intelligence, pages 249–256. Morgan Kaufmann, 2003.

- Barber C.B., Dobkin D.P., Huhdanpaa H., “The quickhull algorithm for convex hulls,” ACM Transactions on Mathematical Software (TOMS), v.22 n.4, p.469-483, Dec. 1996.

- Oh, J., Rajbal, M.A., Muthukudage, J.K., Tavanapong, W., Wong, J., and de Groen. P.C., “Real-Time Phase Boundary Detection in Colonoscopy Videos,” In: Proc. of 6th International Symposium on Image and Signal Processing and Analysis (ISPA 2009), p. 724-729, Sep. 16-18, 2009, Salzburg, Austria.

- Slo-Li Chu; Chih-Chieh Hsiao, "OpenCL: Make Ubiquitous Supercomputing Possible," High Performance Computing and Communications (HPCC), 2010 12th IEEE International Conference on , vol., no., pp.556,561, 1-3 Sept. 2010

- Canny, John, "A Computational Approach to Edge Detection," Pattern Analysis and Machine Intelligence, IEEE Transactions on , vol.PAMI-8, no.6, pp.679,698, Nov. 1986

- Eves, Howard (1963), “A Survey of Geometry,” I, Boston: Allyn and Bacon, Inc.

- Rodriguez, J.D., Perez, A., Lozano, J.A., "Sensitivity Analysis of k-Fold Cross Validation in Prediction Error Estimation," Pattern Analysis and Machine Intelligence, IEEE Transactions on , vol.32, no.3, pp.569,575, March 2010

- Gonzalez R.C., and Woods R.E., “Digital Image Processing,” 3rd ed., Prentice Hall, Upper Saddle River, New Jersy, USA, (2008), pp 394 - 456.

- Duda R.O., Hart P.E., and Stork D.G., “Pattern Classification,” John Wiley and Sons,New York,USA, (2001), pp 517-581.